## Setting Up the Adipocyte Analyser in Google Colab

### Step 1 — Open Google Colab

- Go to colab.research.google.com

- Sign in with your Google account

- Click "New notebook"

### Step 2 — Enable the GPU

This is important — without it, the analysis will be extremely slow.

- Click "Runtime" in the top menu

- Click "Change runtime type"

- Under "Hardware accelerator", select T4 GPU

- Click "Save"

### Step 3 — Install the required libraries

In two separate code boxes, paste and run these individually:

!pip install --upgrade cellpose scikit-image pandas matplotlib numpy

!pip install cellpose aicspylibczi scikit-image

This only needs to be done once per session. Wait for it to finish before moving on.

You will receive a message saying “restart session”; restart the session, then proceed to step 4.

### Step 4 — Upload your CZI files

- Look at the left sidebar and click the 📁 folder icon

- Click the upload button (arrow pointing up) or drag your files into the file sidebar

- Select your .czi files from your computer

- Wait for them to finish uploading — you will see them appear in the sidebar (you will get a warning message that files won’t be saved in the environment, but you already have your files saved on your PC or hard drive, so igonre it)

### Step 5 — Paste and run the analysis code

- In a new code box, paste the full analysis script. The latest code is always found on https://github.com/Wakedd/Adipocyte_analyser/blob/main/Python_code

- Click the ▶ Run button on the left of the cell (or press Shift + Enter)

- The code will first load the Cellpose model (~1-2 minutes), then process each image

*Special step — if you have multiple patients to be analysed at once, scroll down to Multiple patient analyses

### Step 6 — Download your results

When the code finishes, it will automatically trigger a download of a ZIP file called cellpose_analysis_results.zip containing:

- cell_measurements.csv — all measurements per cell + batch mean & SD

- batch_distribution_summary.png — distribution charts

- One annotated image per CZI file showing detected cells

If the download doesn't trigger automatically, go to the sidebar, find the ZIP file, right-click it, and select Download.

### Important things to know⚠️

- Every time you close or disconnect from Colab, all uploaded files and outputs are deleted — always download your results before closing

- If your session times out mid-run, you'll need to re-upload your files and start again

- The GPU is free, but Colab may occasionally switch you to CPU if demand is high (very rarely)— if the run feels very slow, check Runtime → Change runtime type and confirm GPU is still selected

Multiple patient analyses

- Compress your folders into a zip file

- Upload the zip file into the Colab environment

- Run: !unzip “your_filename.zip” (Replace “your_filename” with the actual file name)

  - If your zip file is too large, you will have to upload it to your google drive (same account as the one logged into Colab) and run:

from google.colab import drivedrive.mount('/content/drive')

!unzip  content/drive/MyDrive/Archive.zip"

- The unzipping process will produce all your patient folders in the sidebar, each folder with the czi images.

- In a new code box, paste the full analysis script. The latest code is found on https://github.com/Wakedd/Adipocyte_analyser/blob/main/Python_for_multiple_patients

- Click the ▶ Run button on the left of the cell (or press Shift + Enter)

- The code will first load the Cellpose model (~1-2 minutes), then process each image

- The code will loop through each folder, analyse the CZI images, produce a CSV file with cell measurements, an annotated image per CZI file, and plots of the overall distribution of some parameters (see below)

!!Under construction!!

I built a website that uses the same script as in Colab with a simple input-output function. It is, however, very slow because it costs a bit of money to run on higher computing power. You can find it here: https://huggingface.co/spaces/Waked11/adipocyte-analyser

Tool box

To clear everything in the file sidebar

Run: !rm -rf /content/*

# Background: How the Adipocyte Analyser Works

## How Cellpose Segments Cells

Cellpose is a deep learning-based algorithm designed for cellular segmentation (Stringer, C. et al., Nat Methods). Unlike traditional methods that rely solely on pixel brightness thresholds—which often fail when cells touch, overlap, or are out of focus —Cellpose uses a vector-flow tracking mechanism.

Here is a breakdown of how the model in your script processes your images:

- Spatial Gradient Flows: For every cell, the AI calculates a mathematical "flow" where pixels inside the cell point gradually toward its exact center. It creates a map of horizontal and vertical vector directions

- Cell Probability Mapping: Simultaneously, the model predicts the likelihood of each pixel being part of a cell versus the background.

- Boundary Assembly: By following these predicted vector pathways downhill to their central points, the algorithm accurately draws boundaries around each cell, even when they are tightly packed together.

- Automated Calibration: The script automatically reads the microscope's embedded metadata from your .czi files to calculate the spatial scale in microns (μm per pixel). It dynamically resizes the expected Cellpose diameter target based on your TARGET_CELL_DIAMETER_UM parameter.

- Quality Control Filters: To ensure accuracy, the script applies a strict boundary filter (clear_border) that removes any partial or cut-off cells touching the outer edges of the frame before assigning sequential tracking numbers.

## What Is Calculated in the CSV File

When the script completes, it compiles all individual cellular measurements into a single spreadsheet named cell_measurements.csv. Below is a detailed dictionary explaining exactly what each column calculates and how those spatial metrics are derived.

### Metadata & Identity Columns

- Image_Name: The filename of the original raw Zeiss .czi image being processed.

- Scale_Used_um_per_px: The physical pixel size automatically extracted from the microscope metadata, representing how many microns span a single pixel.

- Cell_ID: A unique tracking number assigned sequentially to each valid, fully intact cell found in the image.

### 2D Area & Diameter Metrics

- Raw_Area_Pixels: The total absolute count of pixels enclosed within the detected cell boundary.

- Projected_Area_2D_um2: The actual flat surface area of the cell converted into square micrometers (μm2).

- Diameter_From_Area_um: The equivalent diameter derived by treating the 2D pixel area as a perfect circle:

Diameter=2×Projected Areaπ

- Diameter_From_Caliper_um: The average caliper width of the cell, calculated by taking the average of its longest axis (major length) and shortest axis (minor length).

- Selected_Diameter_um: The designated measurement chosen for downstream 3D calculations (configured to use the area-derived diameter by default).

### 3D Geometric Extensions

Because microscopy captures cells as flat 2D profiles, the script models adipocytes as three-dimensional spheres using the calculated radius (r=Selected Diameter2) to compute physiological metrics:

- Sphere_Surface_Area_3D_um2: The total estimated outer surface area of the cell in 3D space:

Surface Area3D=4πr2

- Volume_um3 (or Volume_mL): The estimated volumetric space occupied by the adipocyte, using the standard sphere equation:

Volume=43πr3

- Weight_ug (or selected weight unit): The calculated mass of the individual cell. This relies on the physical density constant of lipid droplets (DENSITY_G_ML = 0.916), multiplying the 3D volume by the density and converting to your preferred weight unit:

Weight=Volume×Density

### Shape and Elongation Metrics (mathematical overkill, ignore it for now)

- Max_Caliper_Width_um: The absolute maximum span across the cell boundary (corresponding to the major axis length in microns).

- Min_Caliper_Width_um: The narrowest perpendicular span across the cell boundary (corresponding to the minor axis length in microns). Highly elongated or compressed cells will show a large difference between their Max and Min caliper widths.

## Summary Rows

At the very bottom of the generated spreadsheet, the script provides summary statistics:

- === BATCH MEAN === represents the average value across every single cell detected in the entire run.

- === BATCH STD DEV === represents the standard deviation, indicating the heterogeneity or variation of sizes within your cell population in the entire run.